Data/hora: 16/06/2024 08:58:30

Provedor de dados: | 111
País: | China
Título: | The Analysis of frequencies and parameters for monitoring surface water quality using multivariate statistical approaches in Can Tho city, Vietnam
Autores: | Minh, Vo Quang; Giao, Nguyen Thanh.
Data: | 2024-03-30
Ano: | 2024
Resumo: | The main objective of this study is to assess the monitoring system of surface water quality in Can Tho using Principal Component Analysis (PCA) and Cluster Analysis (CA). Water samples were monthly collected in 2020 at 35 sampling sites and then analyzed for 18 parameters including temperature, pH, turbidity, dissolved oxygen (DO), biological oxygen demand (BOD), chemical oxygen demand (COD), total suspended solids (TSS), ammonium (NH4+-N), nitrate (NO3ˉ-N), nitrite (NO2ˉ-N), orthophosphate (PO43ˉ-P), chromium (Cr), fluoride (F-), arsenic (As), lead (Pb), mercury (Hg) and coliform. These values were compared with the national technical regulation on surface water quality and calculated water quality index (WQI). The findings indicated that surface water quality in Can Tho was contaminated by organic matters, suspended solids, and microorganisms. TSS, BOD, and COD were high in the dry season, while a high level of coliform was found in the wet season. The results of computed WQI showed that the surface water quality was from good to excellent. PCA results presented that six main factors explained 77.2% of the variations, and there were 16 indicators influencing surface water quality. The water pollution sources were possibly hydrological conditions, agricultural activities, domestic and industrial discharges. Moreover, the results of PCA revealed that water quality parameters could be diminished from 18 to 14 parameters without the loss of importance for evaluating surface water quality. CA suggested that total sampling sites and frequencies in the current monitoring program are likely to reduce from 35 to 27 sites and 12 to 6-7 times per year, respectively. It is suggested that these findings can provide essential scientific information for local environmental managers in adjusting the surface water quality monitoring network in Can Tho city, Vietnam.
Tipo: | Info:eu-repo/semantics/article
Idioma: | Inglês
Identificador: | http://www.cigrjournal.org/index.php/Ejounral/article/view/8273
Editor: | International Commission of Agricultural and Biosystems Engineering
Relação: | http://www.cigrjournal.org/index.php/Ejounral/article/view/8273/4167
Formato: | application/pdf

Fonte:

Agricultural Engineering International: CIGR Journal; Vol. 26 No. 1 (2024): CIGR Journal

1682-1130

Fonte: | Copyright (c) 2024 Agricultural Engineering International: CIGR Journal