Data/hora: 08/06/2024 15:40:30

Provedor de dados: 	111	
País: 	China	
Título: 	Design and Construction of an Affordable Potable Water Treatment Unit for Domestic Usage	
Autores: 	Isikwue, Martins Okechukwu; Ato, Jeremiah A.; Ayua, Isaac T.	
Data: 	2015-09-25	
Ano: 	2015	
Palavras-chave: 	Land and Water Management; Water Quality; Raw water; Filtration; Treatment; Potable water; Domestic usage.	
Resumo: 	An affordable potable water treatment unit was designed and constructed. The components were coagulation unit, sedimentation unit, slow sand filter unit, utraviolet unit and the storage unit. Filtrate from the chamber was compared with International acceptable standards. The result showed that the treatment chamber proved effective and can produce at least 100 litres of portable water per day. The physical and chemical parameters monitored were reduced to the acceptable limit by WHO (World Health Organisation), NAFDAC(National Agency for Food and Drug Administration and Control) Nigeria and Nigerian Standard for Drinking Water Quality (NSDWQ). However, coliform was not totally removed but the count was reduced by 99.4%.	
Tipo: 	Info:eu-repo/semantics/article	
Idioma: 	Inglês	
Identificador: 	http://www.cigrjournal.org/index.php/Ejounral/article/view/2872	
Editor: 	International Commission of Agricultural and Biosystems Engineering	
Relação: 	http://www.cigrjournal.org/index.php/Ejounral/article/view/2872/2143

http://www.cigrjournal.org/index.php/Ejounral/article/downloadSuppFile/2872/952	
Formato: 	application/pdf	
Fonte: 	Agricultural Engineering International: CIGR Journal; Vol 17, No 3 (2015): CIGR Journal

1682-1130