Data/hora: 15/06/2024 02:12:52

Provedor de dados: | 5
País: | France
Título: | Photochemistry on the Space Station-Aptamer Resistance to Space Conditions: Particles Exposure from Irradiation Facilities and Real Exposure Outside the International Space Station
Autores: | Coussot, Gaelle; Le Postollec, Aurelie; Incerti, Sebastien; Baque, Mickael; Faye, Clement; Vandenabeele Trambouze, Odile; Cottin, Herve; Ravelet, Corinne; Peyrin, Eric; Fiore, Emmanuelle; Vigier, Flavie; Caron, Jerome; Chaput, Didier; Przybyla, Bartos; Berger, Thomas; Dobrijevic, Michel.
Data: | 2019-08
Ano: | 2019
Palavras-chave: | Astrobiology; Cosmic rays; Biochip; Aptamers.
Resumo: | Some microarray-based instruments that use bioaffinity receptors such as antibodies or aptamers are under development to detect signatures of past or present life on planetary bodies. Studying the resistance of such instruments against space constraints and cosmic rays in particular is a prerequisite. We used several ground-based facilities to study the resistance of aptamers to various types of particles (protons, electrons, neutrons, and carbon ions) at different energies and fluences. We also tested the resistance of aptamers during the EXPOSE-R2 mission outside the International Space Station (ISS). The accumulated dose measured after the 588 days of this mission (220 mGy) corresponds to the accumulated dose that can be expected during a mission to Mars. We found that the recognition ability of fluorescently labeled aptamers was not significantly affected during short-term exposure experiments taking into account only one type of radiation at a time. However, we demonstrated that the same fluorescent dye was significantly affected by temperature variations (-21 degrees C to +58 degrees C) and storage throughout the entirety of the ISS experiment (60% of signal loss). This induced a large variability of aptamer signal in our analysis. However, we found that &gt;50% of aptamers were still functional after the whole EXPOSE-R2 mission. We conclude that aptamer-based instruments are well suited for in situ analysis on planetary bodies, but the detection step requires additional investigations.
Tipo: | Text
Idioma: | Inglês

Identificador:

https://archimer.ifremer.fr/doc/00601/71306/69723.pdf

DOI:10.1089/ast.2018.1896

https://archimer.ifremer.fr/doc/00601/71306/

Editor: | Mary Ann Liebert, Inc
Formato: | application/pdf
Fonte: | Astrobiology (1531-1074) (Mary Ann Liebert, Inc), 2019-08 , Vol. 19 , N. 8 , P. 1063-1074

Fonte:

info:eu-repo/semantics/openAccess

restricted use