Data/hora: 17/06/2024 16:37:10

Provedor de dados: 	52	
País: 	Brazil	
Título: 	A comparison between enzyme immunoassay and HPLC for ochratoxin A detection in green, roasted and instant coffee	
Autores: 	Fujii,Simone; Ono,Elisabete Yurie Sataque; Ribeiro,Ricardo Marcelo Reche; Assunção,Fernanda Garcia Algarte; Takabayashi,Cássia Reika; Oliveira,Tereza Cristina Rocha Moreira de; Itano,Eiko Nakagawa; Ueno,Yoshio; Kawamura,Osamu; Hirooka,Elisa Yoko.	
Data: 	2007-03-01	
Ano: 	2007	
Palavras-chave: 	Ochratoxin; Immunoassay; HPLC; Monoclonal antibody; Coffee.	
Resumo: 	An indirect competitive enzyme-linked immunosorbent assay (ic-ELISA) for ochratoxin A (OTA) detection in green, roasted and instant coffees was developed using anti-OTA monoclonal antibody. Immunological reagents prepared were OTA-BSA (4.76 mg/mL), anti-OTA.7 MAb (2x10³-fold dilution) and HRP-anti IgG (10³-fold dilution). The detection limit was 3.73 ng OTA/g and correlation coefficients (r) between this immunoassay and high performance liquid chromatography were 0.98 for green coffee, 0.98 for roasted and 0.86 for instant. OTA levels detected by ic-ELISA were higher than by HPLC, with ELISA/HPLC ratio of 0.66 - 1.46 (green coffee), 0.96 - 1.11 (roasted) and 0.93 - 1.82 (instant). ELISA recoveries for OTA added to coffee (5 - 70 ng/g) were 81.53 % for green coffee, 46.73 % for roasted and 64.35 % for instant, while recoveries by HPLC were 80.54 %, 45.91 % and 55.15 %, respectively. Matrices interferences were minimized by samples dilution before carrying out the ELISA assay. The results indicate that MAb-based ic-ELISA could be a simple, sensitive and specific screening tool for OTA detection, contributing to quality and safety of coffee products.	
Tipo: 	Info:eu-repo/semantics/article	
Idioma: 	Inglês	
Identificador: 	http://www.scielo.br/scielo.php?script=sci_arttext&pid=S1516-89132007000200020	
Editor: 	Instituto de Tecnologia do Paraná - Tecpar	
Relação: 	10.1590/S1516-89132007000200020	
Formato: 	text/html	
Fonte: 	Brazilian Archives of Biology and Technology  v.50 n.2 2007	
Fonte: 	info:eu-repo/semantics/openAccess