Data/hora: 28/05/2024 17:09:53

Provedor de dados: | Brazilian Journal of Medical and Biological Research
País: | Brazil
Título: | Variability in baseline laboratory measurements of the Brazilian Longitudinal Study of Adult Health (ELSA-Brasil)
Autores: | Ladwig,R.; Vigo,A.; Fedeli,L.M.G.; Chambless,L.E.; Bensenor,I.; Schmidt,M.I.; Vidigal,P.G.; Castilhos,C.D.; Duncan,B.B.
Data: | 2016-01-01
Ano: | 2016
Palavras-chave: | Multi-center studies; Laboratory measurements; Quality control.
Resumo: | Multi-center epidemiological studies must ascertain that their measurements are accurate and reliable. For laboratory measurements, reliability can be assessed through investigation of reproducibility of measurements in the same individual. In this paper, we present results from the quality control analysis of the baseline laboratory measurements from the ELSA-Brasil study. The study enrolled 15,105 civil servants at 6 research centers in 3 regions of Brazil between 2008–2010, with multiple biochemical analytes being measured at a central laboratory. Quality control was ascertained through standard laboratory evaluation of intra- and inter-assay variability and test-retest analysis in a subset of randomly chosen participants. An additional sample of urine or blood was collected from these participants, and these samples were handled in the same manner as the original ones, locally and at the central laboratory. Reliability was assessed with the intraclass correlation coefficient (ICC), estimated through a random effects model. Coefficients of variation (CV) and Bland-Altman plots were additionally used to assess measurement variability. Laboratory intra and inter-assay CVs varied from 0.86% to 7.77%. From test-retest analyses, the ICCs were high for the majority of the analytes. Notably lower ICCs were observed for serum sodium (ICC=0.50; 95%CI=0.31–0.65) and serum potassium (ICC=0.73; 95%CI=0.60–0.83), due to the small biological range of these analytes. The CVs ranged from 1 to 14%. The Bland-Altman plots confirmed these results. The quality control analyses showed that the collection, processing and measurement protocols utilized in the ELSA-Brasil produced reliable biochemical measurements.
Tipo: | Info:eu-repo/semantics/article
Idioma: | Inglês
Identificador: | http://www.scielo.br/scielo.php?script=sci_arttext&pid=S0100-879X2016000900701
Editor: | Associação Brasileira de Divulgação Científica
Relação: | 10.1590/1414-431x20165381
Formato: | text/html
Fonte: | Brazilian Journal of Medical and Biological Research  v.49 n.9 2016
Fonte: | info:eu-repo/semantics/openAccess