Data/hora: 02/06/2024 17:25:40

Provedor de dados: | 56
País: | Brazil
Título: | Simultaneous detection of the C282Y, H63D and S65C mutations in the hemochromatosis gene using quenched-FRET real-time PCR
Autores: | Moysés,C.B.; Moreira,E.S.; Asprino,P.F.; Guimarães,G.S.; Alberto,F.L.
Data: | 2008-10-01
Ano: | 2008
Palavras-chave: | Hemochromatosis; Single nucleotide polymorphism; Quenched-FRET; Real-time PCR.
Resumo: | Hereditary hemochromatosis (HH) is a common autosomal disorder of iron metabolism mainly affecting Caucasian populations. Three recurrent disease-associated mutations have been detected in the hemochromatosis gene (HFE): C282Y, H63D, and S65C. Although HH phenotype has been associated with all three mutations, C282Y is considered the most relevant mutation responsible for hemochromatosis. Clinical complications of HH include cirrhosis of the liver, congestive cardiac failure and cardiac arrhythmias, endocrine pancreatic disease, which can be prevented by early diagnosis and treatment. Therefore, a reliable genotyping method is required for presymptomatic diagnosis. We describe the simultaneous detection of the C282Y, H63D and S65C mutations in the hemochromatosis gene by real-time PCR followed by melting curve analysis using fluorescence resonance energy transfer (FRET) probes. The acceptor fluorophore may be replaced by a quencher, increasing multiplex possibilities. Real-time PCR results were compared to the results of sequencing and conventional PCR followed by restriction digestion and detection by agarose gel electrophoresis (PCR-RFLP). Genotypes from 80 individuals obtained both by the conventional PCR-RFLP method and quenched-FRET real-time PCR were in full agreement. Sequencing also confirmed the results obtained by the new method, which proved to be an accurate, rapid and cost-effective diagnostic assay. Our findings demonstrate the usefulness of real-time PCR for the simultaneous detection of mutations in the HFE gene, which allows a reduction of a significant amount of time in sample processing compared to the PCR-RFLP method, eliminates the use of toxic reagents, reduces the risk of contamination in the laboratory, and enables full process automation.
Tipo: | Info:eu-repo/semantics/other
Idioma: | Inglês
Identificador: | http://www.scielo.br/scielo.php?script=sci_arttext&pid=S0100-879X2008001000001
Editor: | Associação Brasileira de Divulgação Científica
Relação: | 10.1590/S0100-879X2008005000046
Formato: | text/html
Fonte: | Brazilian Journal of Medical and Biological Research  v.41 n.10 2008
Fonte: | info:eu-repo/semantics/openAccess