Data/hora: 13/06/2024 21:12:23

Provedor de dados: | Brazilian Journal of Medical and Biological Research
País: | Brazil
Título: | An improved HPLC method for the quantitation of 6-mercaptopurine and its metabolites in red blood cells
Autores: | Oliveira,B.M.; Romanha,A.J.; Alves,T.M.A.; Viana,M.B.; Zani,C.L.
Data: | 2004-05-01
Ano: | 2004
Palavras-chave: | Acute lymphoblastic; Ukemia; Chemotherapy; 6-Mercaptopurine; Compliance; Children.
Resumo: | A procedure is described for the rapid determination of the intra-erythrocyte concentration of 6-mercaptopurine (6-MP) and its metabolites, 6-thioguanine nucleotides (6-TGN) and 6-methylmercaptopurine (6-MMP). Erythrocytes (8 x 10(8) cells) in 350 µl Hanks solution containing 7.5 mg dithiothreitol were treated with 50 µl 70% perchloric acid. The precipitate was removed by centrifugation (13,000 g) and the supernatant hydrolyzed at 100°C for 45 min. After cooling, 100 µl was analyzed directly by HPLC using a Radialpack Resolve C18 column eluted with methanol-water (7.5:92.5, v/v) containing 100 mM triethylamine. 6-TG, 6-MP and the hydrolysis product of 6-MMP, 4-amino-5-(methylthio)carbonyl imidazole, were monitored at 342, 322 and 303 nm using a Shimadzu SPD-M10A diode array UV detector. The analytes eluted at 5.3, 6.0 and 10.2 min, respectively. The calibration curves were linear (r² &gt; 0.998), and the analytical recoveries were 73.2% for 6-TG, 119.1% for 6-MP and 97.4% for 6-MMP. The intra- and inter-assay variations were highest for 6-MP (9.6 and 14.3%, respectively). The lowest detectable concentrations were 3, 3 and 25 pmol/8 x 10(8) erythrocytes for 6-TG, 6-MP and 6-MMP, respectively. The quantification limits (coefficients of variation &lt;15%) were 8, 10 and 70 pmol/8 x 10(8) erythrocytes for 6-TG, 6-MP and 6-MMP, respectively. The method was applied to the analysis of 183 samples from 36 children under chemotherapy for acute lymphoblastic leukemia. The concentrations of the metabolites in the red cells of the patients ranged from 0 to 1934 pmol/8 x 10(8) erythrocytes for 6-TGN, and from 0 to 105.8 and 0 to 45.9 nmol/8 x 10(8) erythrocytes for 6-MP and 6-MMP, respectively. The procedure gave results that were in agreement with those obtained with other methods designed to detect cases of non-compliance with treatment, including patient interviews and medical evaluation, among others, demonstrating its applicability to monitoring the treatment of leukemic children.
Tipo: | Info:eu-repo/semantics/article
Idioma: | Inglês
Identificador: | http://www.scielo.br/scielo.php?script=sci_arttext&pid=S0100-879X2004000500004
Editor: | Associação Brasileira de Divulgação Científica
Relação: | 10.1590/S0100-879X2004000500004
Formato: | text/html
Fonte: | Brazilian Journal of Medical and Biological Research  v.37 n.5 2004
Fonte: | info:eu-repo/semantics/openAccess