Data/hora: 13/06/2024 03:37:28

Provedor de dados: 	18	
País: 	United Kingdom	
Título: 	Delayed sample filtration and storage effects on dissolved nutrients measured in agricultural runoff	
Autores: 	Lentz, R.D.	
Data: 	2013	
Ano: 	2013	
Palavras-chave: 	Nitrogen; Phosphorous; Nutrients.	
Resumo: 	Standard water quality analysis methods recommend that sediment-laden runoff waters sampled to determine dissolved nutrient concentrations be filtered immediately after collection.  Few research studies have examined the influence of delayed filtration on sample stability or nutrient loss assessments.  Twenty eight runoff water volumes were collected from 3 irrigation furrows during a 12-h irrigation set.  Four subsamples of each volume were obtained; 2 were filtered (45 µm) in the field and the other 2 were filtered 10 days later, with or without boric acid treatment (1 mL saturated H3BO3 solution per 100 mL sample). All samples were refrigerated at 4 deg. C.  Dissolved reactive P (DRP), NO3-N, and NH4-N concentrations were measured in all filtered samples 10 and 107 days after collection.  Samples filtered in the field and those with a 10-day delayed filtration had similar dissolved DRP, NO3-N, and NH4-N concentrations, whether or not boric acid was added.  After 107 days storage: 1) measured NO3-N concentrations in delayed filtration samples were 3.7-times greater than that in field-filtered samples, regardless of boric acid addition; and 2) boric acid had stabilized DRP and NH4-N concentrations relative to field-filtered samples.  When integrated across the entire irrigation, the mean NO3-N and DRP furrow stream concentration and runoff mass losses computed from runoff water samples were similar for field filtered and delayed-filtration/no-boric-acid treatments.  However, when these same parameters were computed using delayed-filtration, extended-storage (107-d) sample results, both NO3-N (4.7x) and DRP (1.9x) were greater in magnitude.  The field-filtered or 10-d delayed-filtration without boric acid treatments provided the best dissolved nutrient measurements for comparing agricultural management effects at the field edge; however, results suggest that an incubation-type test of field-edge runoff water may provide a more accurate estimate of field management effects on downstream dissolved nutrient loads and aquatic ecosystems.	
Tipo: 	Article	
Identificador: 	http://eprints.nwisrl.ars.usda.gov/1516/1/1480.pdf

Lentz, R.D. (2013) Delayed sample filtration and storage effects on dissolved nutrients measured in agricultural runoff. Communications in Soil Science and Plant Analysis. 44:2952-2960. Taylor & Francis.	
Editor: 	Taylor &amp; Francis	
Relação: 	http://eprints.nwisrl.ars.usda.gov/1516/	
Formato: 	application/pdf