Data/hora: 07/06/2024 05:29:30

Provedor de dados: 	195	
País: 	Brazil	
Título: 	Continuous monitoring of interstitial glucose in healthy dogs

Monitoração contínua da glicose intersticial em cães sadios	
Autores: 	Ferreira, Karina Casagrande; Jericó, Márcia Marques; de Pietro, Achille Marcelo; dos Santos, Elídia Zotelli; Sewastjanow, Liliam; Leite, Talita; Baptista, Juliana.	
Data: 	2016-01-18	
Ano: 	2016	
Palavras-chave: 	Blood glucose; Glucometer; Venous; Sensor; Calibration Glicemia; Glicosímetro; Venosa; Sensor; Calibração.	
Resumo: 	The maintenance of body glucose in proper levels is of paramountimportance to the homeostasis control, offering a fundamentalenergetic substrate for the proper organic performance. For thepurposes of measuring body glucose levels, there are available portableand laboratory assessment techniques. Therefore, aiming at futureclinical trials on body glucose variation in dogs, it had the purpose ofobserving the feasibility of a continuous interstitial glucose monitoringsystem named CGMS® (Continuous Glucose Monitoring System,Guardian Real-Time System/Medtronic/U.S.A.). Eight clinically healthydogs composed the study group and all of them presented the highestinterstitial glucose values during the contention and obtaining processof venous blood samples for the device calibration and the lowest valuesduring the night period due to the lack of manipulation. It was alsoperformed the comparison of venous and interstitial glucose, evaluatedat the same moment and presenting a good agreement betweenthemselves. The median values of glucose obtained from venousroute were 82,5mg/dL; 81mg/dL; 80mg/dL; 78mg/dL; 86,5mg/dL;83mg/dL; 84mg/dL; 99,5mg/dL whereas those.evaluated.by.CGMS®.corresponded.to 77mg/dL; 77mg/dL; 69mg/dL; 80mg/dL; 81,5mg/dL;76mg/dL; 52,5mg/dL; e 86mg/dL. There has been certain situations ofnon-recording of data by removal of the sensor and light inflammatorycutaneous reaction on the fixation site. Results obtained confirmed theefficacy of CGMS® on the assessment of interstitial glucose withinthe home settings and assisted, moreover also evidencing the need oftraining to the device owner regarding its related handling.	
Tipo: 	Info:eu-repo/semantics/article	
Idioma: 	Português	
Identificador: 	http://www.revistamvez-crmvsp.com.br/index.php/recmvz/article/view/28822	
Editor: 	Conselho Regional de Medicina Veterinária e Zootecnia do Estado de São Paulo	
Relação: 	http://www.revistamvez-crmvsp.com.br/index.php/recmvz/article/view/28822/30466	
Formato: 	application/pdf	
Fonte: 	Revista de Educação Continuada em Medicina Veterinária e Zootecnia; Revista de Educação Continuada em Medicina Veterinária e Zootecnia do CRMV-SP, v. 13, n. 3 (2015); 18-23

Revista de Educação Continuada em Medicina Veterinária e Zootecnia; Revista de Educação Continuada em Medicina Veterinária e Zootecnia do CRMV-SP, v. 13, n. 3 (2015); 18-23

Revista de Educação Continuada em Medicina Veterinária e Zootecnia do CRMV-SP; Revista de Educação Continuada em Medicina Veterinária e Zootecnia do CRMV-SP, v. 13, n. 3 (2015); 18-23

2596-1306	
Fonte: 	Direitos autorais 2016 Revista de Educação Continuada em Medicina Veterinária e Zootecnia