Data/hora: 07/06/2024 08:24:03

Provedor de dados: | 5
País: | France
Título: | Investigation of the matrix effects on a HPLC-ESI-MS/MS method and application for monitoring triazine, phenylurea and chloroacetanilide concentrations in fresh and estuarine waters
Autores: | Mazzella, N.; Delmas, F.; Delest, B.; Mechin, B.; Madigou, C.; Allenou, Jean-pierre; Gabellec, Raoul; Caquet, Th.
Data: | 2009
Ano: | 2009
Palavras-chave: | River estuarine interface; Natural water quality; Herbicides; Matrix effects; Multiresidue method; HPLC ESI MS/MS.
Resumo: | In this work, the effects of matrix interferences on the analytical performance of a new multiresidue method based on off-line solid phase extraction followed by reversed-phase liquid chromatographic separation and electrospray triple quadrupole mass spectrometric detection were investigated. This technique allows the simultaneous determination of 30 triazines, phenylureas and chloroacetanilides, extracted from freshwaters, in 40 minutes. Quantifications were performed with the use of appropriate internal standards (i.e. atrazine D5, diuron D6 and metolachlor D6). The limits of quantification were from 1 to 32 ng L-1 for the triazines, from 5 to 59 ng L-1 for the phenylureas and from 13 to 54 ng L-1 for the chloroacetanilides. The matrix effects were studied by spiking various waters (i.e. tap, river, pond and sea waters) with the chemicals of interest. The results showed that the samples with the highest conductivity (i.e. seawater) and the most abundant dissolved organic matter content (i.e. pond water) exhibited important matrix effects with signal suppressions and high imprecision, respectively. These matrix effects were strongly minimized by performing appropriate internal standardizations. Afterward, this analytical method was applied for analyzing environmental samples from either river or estuarine waters and for monitoring herbicide input in a freshwater-seawater interface.
Tipo: | Text
Idioma: | Inglês

Identificador:

http://archimer.ifremer.fr/doc/2009/publication-6092.pdf

DOI:10.1039/b805160g

Editor: | Royal Society of Chemistry
Relação: | http://archimer.ifremer.fr/doc/00000/6092/
Formato: | application/pdf
Fonte: | Journal of Environmental Monitoring (1464-0325) (Royal Society of Chemistry), 2009 , Vol. 11 , N. 1 , P. 108-115
Fonte: | Royal Society of Chemistry 2009