Data/hora: 01/06/2024 09:41:01

Provedor de dados: | 5
País: | France
Título: | Determination of iron-porphyrin-like complexes at nanomolar levels in seawater
Autores: | Vong, Lilita; Laes, Agathe; Blain, Stéphane.
Data: | 2007-04
Ano: | 2007
Palavras-chave: | Chemiluminescence; Complexation; Flow injection; Seawater; Porphyrin; Iron.
Resumo: | A new method for the non-specific determination of iron-porphyrin-like complexes in natural waters has been developed. It is based on the chemiluminescent oxidation of the luminol in the presence of dioxygen (O-2) at pH 13. The method has been implemented in a FIA manifold that allowed the direct injection of seawater. The limit of detection is 0.11 nM of equivalent hemin (Fe-protoporphyrin IX). Fe2+, Fe3+, H2O2, siderophore (deferoxamin mesylate), humic acid and phytic acid did not interfere when the), were present at the concentrations expected in seawater. Metal free porphyrin and Mg, Cu, Co porphyrin complexes did not induce a significant chemiluminescent signal. Poisoned unfiltered samples could be stored for several weeks before analyses. The new method was successfully applied to the determination of the Fe-porphyrin complexes contained in cultured phytoplankton and in natural samples.
Tipo: | Text
Idioma: | Inglês

Identificador:

http://archimer.ifremer.fr/doc/2007/publication-3298.pdf

DOI:10.1016/j.aca.2007.02.007

Editor: | Elsevier
Relação: | http://archimer.ifremer.fr/doc/00000/3298/
Formato: | application/pdf
Fonte: | Analytica Chimica Acta (0003-2670) (Elsevier), 2007-04 , Vol. 588 , N. 2 , P. 237-244
Fonte: | 2007 Elsevier B.V. All rights reserved