Data/hora: 10/06/2024 17:03:42

Provedor de dados: 	5	
País: 	France	
Título: 	Interet du compteur de particules ZB-ZBI et de l'analyseur C1000 pour la numeration des algues unicellulaires de culture.	
Autores: 	Robert, Rene.	
Data: 	1985-12	
Ano: 	1985	
Palavras-chave: 	Laboratory equipment; Growth; Particle counters; Laboratory culture; Algal culture.	
Resumo: 	Marine unicellular algae growth rates were studied with: a Coulter Counter in conjunction with a channelizer, and a hemacytometer. Compared to the hemacytometer a good precision of the culture density was observed when the Coulter Counter was used in conjunction with a channelizer. Nevertheless care had to be taken when determining the growth of the diatoms.	
Tipo: 	Text	
Idioma: 	Francês	
Identificador: 	http://archimer.ifremer.fr/doc/1985/publication-1777.pdf	
Editor: 	ISTPM	
Relação: 	http://archimer.ifremer.fr/doc/00000/1777/	
Formato: 	application/pdf	
Fonte: 	Revue des Travaux de l'Institut des Pêches Maritimes (0035-2276) (ISTPM), 1985-12 , Vol. 49 , N. 3-4 , P. 155-163	
Fonte: 	Ifremer