Data/hora: 01/06/2024 08:38:30

Provedor de dados: | 5
País: | France
Título: | High-precision measurements of seawater Pb isotope compositions by double spike thermal ionization mass spectrometry
Autores: | Paul, Maxence; Bridgestock, Luke; Rehkaemper, Mark; Van Deflierdt, Tina; Weiss, Dominik.
Data: | 2015-03
Ano: | 2015
Palavras-chave: | Seawater; Lead isotope; Double spike; Thermal ionization mass spectrometry; GEOTRACES; Inter-calibration.
Resumo: | A new method for the determination of seawater Pb isotope compositions and concentrations was developed, which combines and optimizes previously published protocols for the separation and isotopic analysis of this element. For isotopic analysis, the procedure involves initial separation of Pb from 1 to 2 L of seawater by co-precipitation with Mg hydroxide and further purification by a two stage anion exchange procedure. The Pb isotope measurements are subsequently carried out by thermal ionization mass spectrometry using a Pb-207-Pb-204 double spike for correction of instrumental mass fractionation. These methods are associated with a total procedural Pb blank of 28 +/- 21 pg(1sd) and typical Pb recoveries of 40-60%. The Pb concentrations are determined by isotope dilution (ID) on 50 mL of seawater, using a simplified version of above methods. Analyses of multiple aliquots of six seawater samples yield a reproducibility of about +/- 1to +/- 10%(1sd) for Pb concentrations of between 7 and 50 pmol/kg, where precision was primarily limited by the uncertainty of the blank correction (12 +/- 4 pg; 1sd). For the Pb isotope analyses, typical reproducibilities (+/- 2sd) of 700-1500 ppm and 1000-2000ppm were achieved for Pb-207/Pb-206, Pb-208/Pb-206 and Pb-206/Pb-204, Pb-207/Pb-204, Pb-208/Pb-204, respectively. These results are superior to literature data that were obtained using plasma source mass spectrometry and they are at least a factor of five more precise for ratios involving the minor Pb-204 isotope. Both Pb concentration and isotope data, furthermore, show good agreement with published results for two seawater intercomparison samples of the GEOTRACES program. Finally, the new methods were applied to a seawater depth profile from the eastern South Atlantic. Both Pb contents and isotope compositions display a smooth evolution with depth, and no obvious outliers. Compared to previous Pb isotope data for seawater, the Pb-206/Pb-204 ratios are well correlated with Pb-207/Pb-206, underlining the significant improvement achieved in the measurement of the minor Pb-204 isotope.
Tipo: | Text
Idioma: | Inglês

Identificador:

https://archimer.ifremer.fr/doc/00351/46268/46051.pdf

DOI:10.1016/j.aca.2014.12.012

https://archimer.ifremer.fr/doc/00351/46268/

Editor: | Elsevier Science Bv
Formato: | application/pdf
Fonte: | Analytica Chimica Acta (0003-2670) (Elsevier Science Bv), 2015-03 , Vol. 863 , P. 59-69

Fonte:

2014 The Authors. Published by Elsevier B.V. This is an open access article under the CC BY license (http:// creativecommons.org/licenses/by/3.0/).

info:eu-repo/semantics/openAccess

restricted use