Data/hora: 02/06/2024 13:12:05

Provedor de dados: | 60
País: | Brazil
Título: | Comparative performance of lab tests and blood testing device to monitor glucose, total cholesterol and triacylglycerol in type 2 diabetic patients
Autores: | Zubioli,Arnaldo; Batista,Marcia Regina; Stefanello,Talitha Fernandes; Carrara,Marcia Aparecida; Bazotte,Roberto Barbosa.
Data: | 2011-09-01
Ano: | 2011
Palavras-chave: | Laboratory tests; Glycated hemoglobin; Glycemia; Total cholesterol; Triacylglycerol; Type 2 diabetes.
Resumo: | The performance of lab tests (LT) and blood testing devices (BTD) to monitor glycemia vs. glycated hemoglobin A1c (A1c) were compared. In addition, the performance of blood glucose, total cholesterol (TC) and triacylglycerol measured by LT and BDT were compared. All parameters were measured based on the same blood samples from overnight fasted type 2 diabetic patients (T2DP). Linear regression analysis was used for all comparisons. The results showed that A1c correlated better with LT-glucose (r = 0.58) than BTD-glucose (r = 0.42). Moreover, LT vs. BTD showed r values of 0.90, 0.82 and 0.92 for glucose, TC and triacylglycerol, respectively. It was concluded that the performance of LT-glucose was better than BDT-glucose. Moreover, since triacylycerol and TC measured by BTD correlated better with LT compared to BDT-glucose vs. LT-glucose, the inclusion of BTD-TC and BTD-triacylglycerol for detecting and monitoring hyperlipidemia in T2DP should be considered.
Tipo: | Info:eu-repo/semantics/article
Idioma: | Inglês
Identificador: | http://www.scielo.br/scielo.php?script=sci_arttext&pid=S1984-82502011000300020
Editor: | Universidade de São Paulo, Faculdade de Ciências Farmacêuticas
Relação: | 10.1590/S1984-82502011000300020
Formato: | text/html
Fonte: | Brazilian Journal of Pharmaceutical Sciences  v.47 n.3 2011
Fonte: | info:eu-repo/semantics/openAccess