Data/hora: 01/06/2024 13:31:31

Provedor de dados: | 80
País: | Brazil
Título: | Tracking false-negative results in molecular diagnosis: proposal of a triplex-PCR based method for leishmaniasis diagnosis
Autores: | Gonçalves-de-Albuquerque,Suênia da Cunha; Silva,Rômulo Pessoa e; Morais,Rayana Carla Silva de; Trajano-Silva,Lays Adrianne Mendonça; Régis-da-Silva,Carlos Gustavo; Brandão Filho,Sinval Pinto; Paiva-Cavalcanti,Milena de.
Data: | 2014-01-01
Ano: | 2014
Palavras-chave: | Extraction control; Multiplex PCR; PUC18; Leishmaniasis; Diagnosis; False-negative result.
Resumo: | Background : Molecular biological methods have become increasingly relevant to the diagnosis and control of infectious diseases, such as leishmaniasis. Since various factors may affect the sensitivity of PCR assays, including DNA yield and purity, an optimal extraction method is pivotal. Losses of a parasite’s DNA during extraction may significantly impair its detection by PCR and lead to false-negative results. This study proposes a triplex PCR assay targeting the parasite’s DNA, an external control (pUC18) and an internal control (G3PD) for accurate diagnosis of leishmaniasis.Results : Two primer pairs were designed to detect the plasmid pUC18 and a triplex PCR assay targeting theLeishmania braziliensiskinetoplast DNA, the external control and the internal control was standardized. The triplex PCR assay was assessed for its ability to detect the three target DNA fragments simultaneously. PCR products from pUC18 DNA resulted in bands of 368 (P1) and 316 (P2) base pairs (bp). The triplex PCR optimized with the chosen external control system (P1) allowed the simultaneous detection of the internal control (G3PD – 567 bp) as well as of small quantities (10 pg) of the target parasite’s DNA, detected by amplification of a 138 bp product.Conclusions : The new tool standardized herein enables a more reliable interpretation of PCR results, mainly by contributing to quality assurance of leishmaniasis diagnosis. Furthermore, after simple standardization steps, this protocol could be applied to the diagnosis of other infectious diseases in reference laboratories. This triplex PCR enables the assessment of small losses during the DNA extraction process, problems concerning DNA degradation (sample quality) and the detection ofL. braziliensiskDNA.
Tipo: | Info:eu-repo/semantics/article
Idioma: | Inglês
Identificador: | http://www.scielo.br/scielo.php?script=sci_arttext&pid=S1678-91992014000200326
Editor: | Centro de Estudos de Venenos e Animais Peçonhentos
Relação: | 10.1186/1678-9199-20-16
Formato: | text/html
Fonte: | Journal of Venomous Animals and Toxins including Tropical Diseases  v.20 2014
Fonte: | info:eu-repo/semantics/openAccess