Data/hora: 16/06/2024 06:26:23

Provedor de dados: 	87	
País: 	Brazil	
Título: 	Removal of Diuron and Hexazinone from Public Water Supply Using a Filter System	
Autores: 	CALEGARI,R.P.; MENDES,K.F.; MARTINS,B.C.; PIMPINATO,R.F.; BAPTISTA,A.S.; TORNISIELO,V.L.	
Data: 	2018-01-01	
Ano: 	2018	
Palavras-chave: 	Activated granular coal; Reverse osmosis; Herbicide removal; Water treatment.	
Resumo: 	ABSTRACT: The intensive use of pesticides, such as the herbicides diuron and hexazinone, leads to a concern about the preservation of the water quality of the water resources destined for human consumption. Currently, conventional water treatment techniques do not have high capacity to remove herbicides; therefore, the need to study other techniques arises. The present study aimed to evaluate the efficiency of the removal of diuron and hexazinone herbicides present in water through a commercial filtration system. The study was carried out in a filtration system composed of the following sequence of filters: sand filter and coconut shell activated granular carbon, polypropylene filter 20 mm, activated carbon filter with silver salts, polypropylene filter 5 mm and reverse osmosis. The affluent contained an initial concentration of 12.06 mg mL-1 of hexazinone and 37.70 mg mL-1 of diuron. The samples were collected in all filters and subjected to the analysis of turbidity and presence of herbicides by high performance liquid chromatography. The filter set removed 99.31; 99.84 and 99.99% of water turbidity, hexazinone and diuron respectively at the end of the system. After the filtration process, the treated water presented adequate quality for public supply and human consumption. The technique employed in this study is easy to operate and has a low acquisition and maintenance cost.	
Tipo: 	Info:eu-repo/semantics/article	
Idioma: 	Inglês	
Identificador: 	http://www.scielo.br/scielo.php?script=sci_arttext&pid=S0100-83582018000100346	
Editor: 	Sociedade Brasileira da Ciência das Plantas Daninhas	
Relação: 	10.1590/s0100-83582018360100147	
Formato: 	text/html	
Fonte: 	Planta Daninha  v.36 2018	
Fonte: 	info:eu-repo/semantics/openAccess