Consulta: creatorFacets:"Hureau Mazaudier, Daniele"
Registros recuperados: 1
Data/hora: 07/06/2024 03:10:45

Improvements in Digestion Protocols for Trace Element and Isotope Determinations in Stream and Lake Sediment Reference Materials (JSd-1, JSd-2, JSd-3, JLk-1 and LKSD-1)
Provedor de dados: 5
Autores: Revillon, Sidonie; Hureau Mazaudier, Daniele.
Total dissolution is a critical step in geochemical analysis. Despite the number of published protocols, this issue still draws attention for sediment samples, which are particularly difficult to dissolve due to the common occurrence and high abundance of refractory phases such as zircon. We present tests of different chemical digestion procedures carried out on reference materials (RM) of stream (JSd-1, JSd-2 and JSd-3) and lake (JLk-1 and LKSD-1) sediments from the Geological Survey of Japan (GSJ) and the Canadian Certified Reference Material Programme (CCRPM). We demonstrate that the fusion technique is not appropriate for our studies as not all elements of interest were recovered and blank levels were too high to permit further Sr and Pb isotopic...
Tipo: Text
Palavras-chave: Sediments; Fusion; Dissolution acide; HR ICP MS; Materiel de reference; Sediment; Fusion; Acid digestion; HR ICP MS; RM; Sédiments; Fusion; Dissolution acide; HR ICP MS; Matériel de référence.
Ano: 2009
URL: http://archimer.ifremer.fr/doc/2009/publication-6840.pdf