Consulta: subjectFacets:"Open circuit"
Registros recuperados: 1
Data/hora: 16/06/2024 03:50:55

A calorimetry system for metabolism trials
Provedor de dados: 45
Autores: Rodríguez,N.M.; Campos,W.E.; Lachica,M.L.; Borges,I.; Gonçalves,L.C.; Borges,A.L.C.C.; Saliba,E.O.S.
An indirect calorimetry system for rapid determination of CO2 and CH4 production and O2 consumption to estimate heat production of animals was built at Escola de Veterinária da Universidade Federal de Minas Gerais, Brazil. Procedures for determination of correction and calibration factors for gas analyzers and the whole system, using standard test gases were described. In addition, a metabolic trial was performed to evaluate heat production of lambs fed ad libitum. It is concluded that the system is suitable for heat production determinations in small and medium size animals.
Tipo: Info:eu-repo/semantics/article
Palavras-chave: Calibration; Open circuit; Respirometry.
Ano: 2007
URL: http://www.scielo.br/scielo.php?script=sci_arttext&pid=S0102-09352007000200033